Feff6L.doc      Documentation Feff 6L Version 6.01l     Rev. 10/22/02

FEFF 6L

Ab initio Multiple-Scattering X-ray Absorption Fine Structure Code

Table of Contents

1.  Synopsis -- PLEASE READ THIS ENTIRE SECTION

2.  Conceptual Description

3.  Program and File Structure

4.  Input File and FEFF Commands

5.  Run Control Options

6.  File Contents

Appendices

A.  Copyright Information, Restrictions and License

B.  Installation Instructions

C.  References

D.  Sample Input Files

E.  Code Variables, Dimensions and Descriptions

F.  Changes from FEFF 5 and FEFF 6

G.  Trouble-shooting FEFF problems

Copyright 1992-2002 FEFF Project, Department of Physics, BOX 351560

University of Washington, Seattle, WA 98195

1.  Synopsis -- PLEASE READ THIS ENTIRE SECTION

FEFF6L calculates wave phase shifts, effective scattering amplitudes

and single and multiple scattering curved wave XAFS spectra, including

polarization dependence, for clusters of atoms (Z < 95). This lite

distribution is based on routines from FEFF6.01.

The calculation is automated and done sequentially in four steps.

1)  The scattering potentials,  phase shifts, dipole matrix

elements and absolute energies are calculated

(module POTPH, potentials and phases)

2)  The scattering paths for the cluster are enumerated.

(module PATHS)

3)  The effective scattering amplitudes and other XAFS

parameters are calculated for each scattering path.

(module GENFMT, general-path F-matrix calculation)

4)  The XAFS parameters from one or more paths are combined to

calculate a total XAFS spectrum.  (module FF2CHI, scattering

amplitude to chi, feff is the effective curved wave

scattering amplitude)

For details on use of the code, examples and suggestions on calculation

strategies, see sections 2, 3 and 4.  For details about the algorithms

used see the discussion on the appropriate module in section 2 and,

for more detail, the published references in Appendix C.

FEFF6L is written in ANSI FORTRAN 77, with the non-standard extension of

double precision complex (complex*16) variables. It requires about

3 megabytes of available memory to run.  See Appendix B for complete

installation instructions.

FEFF6 is copyright protected software.  See Appendix A for complete

copyright notice and redistribution details.

Please cite FEFF if the code or its results are used in published work.

See Appendix C for a list of appropriate citations.

The main authors of FEFF6L are:

S. I. Zabinsky, Microsoft Corporation stevez@microsoft.com

A. Ankudinov    U. Washington, alex@phys.washington.edu      (206) 543-9420

J. J. Rehr,     U. Washington, jjr@phys.washington.edu       (206) 543-8593

R. C. Albers,   Los Alamos,    rca@lanl.gov                  (505) 665-0417

Please contact us concerning any problems with the code; see Appendix G

for trouble-shooting hints and problem/bug reports.

Part of the original FEFF3 code was developed in collaboration with J.

Mustre de Leon and is still part of FEFF5 and FEFF6. The authors thank

the users of experimental versions of this code and especially M.

Newville and B. Ravel for comments and suggestions.

2.  Conceptual description

This section describes the various modules and outlines the use of the

code.

2.1  Scattering potential and phase shift code, POTPH:

The potentials of each atomic type are calculated as if the atoms were

isolated in space using a relativistic Dirac-Fock-Slater Desclaux atom

code with the von Barth-Hedin ground state LDA exchange-correlation

potential.  The scattering potentials are calculated by overlapping the

free atom densities within the muffin tin approximation (Mattheiss

prescription), and including the Hedin-Lundqvist/Quinn self energy for

excited states.  Muffin-tin radii are determined automatically from

calculated Norman radii and scattering phase shifts are determined by

matching at the muffin tin radius.  XAFS spectra are referenced to the

threshold Fermi level, which is estimated by electron gas theory at the

mean interstitial density.  Atomic configurations and core-hole lifetimes

are built in, and mean free paths are determined from the imaginary part

of the average interstitial potential. Dipole matrix elements are

calculated using atomic core and normalized continuum wavefunctions.

An absolute energy scale is obtained by a Desclaux-atom calculation of

the total energy of the system with and without the core-hole.

Polarization dependence is optionally incorporated in the dipole-operator.

The free atomic potentials need as input only the atomic number of the atoms,

and, for the absorbing atom, the type of the core hole being considered. To

do the overlapping for the unique potentials, the neighboring atoms must

be identified, either by position (from a list of the cartesian

coordinates of each atom) or by explicit overlapping instructions.

To save time the code calculates the overlapped atom potential for each

unique potential only once, using as a sample geometry the atom

with the unique potential index that is closest to the absorbing atom.

Thus it is essential that the neighborhood of that sample atom be correct.

2.2  Path enumeration, PATHS:

The code uses a constructive algorithm with several path importance

filters to explore all significant multiple-scattering paths in order

of increasing path length, based on a list of atomic coordinates.

An efficient degeneracy checker is used to identify equivalent

paths (based on similar geometry, path reversal symmetry, and space

inversion symmetry).

The criteria used in filtering are based on increasingly accurate

estimates of each path's amplitude.  The earliest filters, the

pathfinder heap and keep filters, are applied as the paths are being

created.  A plane wave filter based on the plane wave approximation (plus

a curved wave correction for multiple-scattering paths) and accurate to

about 30% is applied after the paths have been enumerated and sorted.

Finally, and accurate curved wave filter is applied to all remaining paths.

2.3  Scattering amplitude and other XAFS parameter calculation, GENFMT:

For each path the code calculates the effective scattering amplitude

(|F_eff| from which FEFF gets its name), total scattering phase shift and

other XAFS parameters using the scattering matrix algorithm of Rehr and

Albers.  Once the scattering phase shifts and the paths are determined,

no other input is necessary for this calculation.

2.4 XAFS spectrum calculation, FF2CHI:

The code ff2chi constructs the XAFS spectrum chi(k) using the XAFS

parameters from one or more paths.  Single and multiple scattering

Debye-Waller factors are calculated using a correlated Debye model.

Output from this module is the total XAFS spectrum and optionally,

the contribution to the XAFS from each path individually.

2.5 Calculation Strategy:

The scattering phase shifts for each unique potential are necessary for

both PATHS and GENFMT.  They are used for the importance filters in

PATHS and are the basis of the XAFS parameters calculation in GENFMT.

This part of the calculation can be slow, so it is usually best to run

it only once and use the results while studying the paths and XAFS.

To study the necessary paths, the pathfinder module PATHS will need the

atomic positions of any atoms from which scattering is expected.  If

the structure is completely unknown, single-scattering paths can be

created explicitly.  Because the number of possible paths increases

exponentially with total path length, start with a short total path

length, study the few paths (representing scattering from the nearest

neighbors), and gradually increase the total path length, possibly

studying the path importance coefficients and using the filters to

limit the number of paths.  This process is not automated, and if done

carelessly can yield so many paths that no analysis will be possible.

Finally, use GENFMT to calculate the XAFS parameters, and FF2CHI to

assemble the results into a chi curve.  Here, the slow part is GENFMT

and FF2CHI is very fast.  Therefore, to explore parameters such as

Debye-Waller factors, mean free path and energy zero shifts, various

combinations of paths and coordination numbers, run only module FF2CHI

using the results saved from GENFMT.

There are three ways to modify the Debye-Waller factor, all of which affect

only the module FF2CHI.  The DEBYE card uses the correlated Debye model

to calculate a Debye-Waller factor for each path.  The SIG2 card adds

a constant Debye-Waller factor to each path.  And you can edit files.dat

to add a particular Debye-Waller factor to a particular path.  These three

Debye-Waller factors are summed, so if the DEBYE and SIG2 cards are present,

and if you have added a Debye-Waller factor to a particular path, the Debye-

Waller factor used will be the sum of all three.  See documentation below

for details.

If your model changes significantly, the phase shifts (which are based

in part on the structure of the material) will have to be recalculated.

Any time the phase shifts change, the XAFS parameters will have to be

re-calculated.  If the path filters have been used, the path list will

also have to be recomputed.

3.  Program and file structure

This section describes the files and data used by the various modules.

The main program FEFF reads one file created directly by the user, the

file feff.inp;  it is line oriented with a KEYWORD

followed by data in free format.  Case is not significant; ABCDE is

equivalent to abcde or AbcDe.  Tab characters are treated as if they

were blanks.  The routine that reads the input assumes that your machine

uses the ASCII character set.  If your machine uses another standard

(EBCDIC, for example), please contact the authors for help in changing

the code.  Comments may be added at the end of any

line after any required data, and spaces between lines are ignored. Any

line beginning with an asterisk (*) is a comment and is ignored.

An auxilliary program is provided which generates the feff.inp file

from crystallographic input parameters.

Other files required by the various modules are created by FEFF from

feff.inp.  Some of these other files may be edited by the user as a way

to modify the input data to the modules, see section 5. See the PRINT

card in section 4 to obtain various diagnostic files.  Table 3.1

summarizes this structure, the rest of this section describes the

structure in more detail.

-- Table 3.1 ----------------------------------------------

module	input files	output files	other useful output

------  -----------     ------------    -------------------

POTPH	feff.inp	phase.bin       diagnostic files

potph.inp       xsect.bin       (see PRINT card)

PATHS	feff.inp	paths.dat	crit.dat

phase.bin

geom.dat

GENFMT	feff.inp	files.dat

phase.bin	feffNNNN.dat

paths.dat

FF2CHI	feff.inp	chi.dat		chipNNNN.dat

files.dat       xmu.dat

feffNNNN.dat

xsect.bin

-----------------------------------------------------------

3.1  Scattering potential and phase shift code, POTPH:

Reads potph.inp, which is created by FEFF's input routine from

feff.inp. potph.inp is deleted by FEFF after use.  POTPH writes the

binary file phase.bin, which contains the scattering phase shifts and

other information needed by PATHS and GENFMT. Optionally,

POTPH will write other diagnostic files with information about the

potentials and phase shift calculations.

3.2  Path enumeration, PATHS:

Reads geom.dat, which is created by FEFF from the information in

feff.inp, and phase.bin.  geom.dat is deleted after use unless

explicitly saved (see PRINT card).  PATHS writes paths.dat for use by

GENFMT and as a complete description of each path for use of the user.

PATHS will optionally write other diagnostic files.  The file crit.dat

is particularly useful when studying large numbers of paths.  When

studying large numbers of paths, this module will optionally write only

crit.dat and save geom.dat, not writing paths.dat.

3.3  Scattering amplitude and other XAFS parameter calculation, GENFMT:

GENFMT reads phase.bin and paths.dat, and writes a file feffNNNN.dat

for each path, where NNNN is the 4-digit path number taken from

paths.dat. The feff.dat files contain the XAFS parameters for each path

and can be used by FF2CHI, or can be used directly by other programs.

These files are the main output of FEFF.  The file files.dat is a list

of these filenames with the importance of each path.

3.4  XAFS spectrum calculation, FF2CHI:

FF2CHI reads files.dat, reads the files listed and files.dat and writes

chi.dat with the total XAFS from these files.  Additional instructions

are passed to FF2CHI from feff.inp, so you can change S02, Debye

temperature and some other parameters without re-doing the whole

calculation.  The file files.dat can be edited by hand to change the

files being considered, and individual chipNNNN.dat files with chi from

each path are optionally written.

4.  Input file and FEFF commands

The main program FEFF reads one file created directly by the user, the

file feff.inp.  This section describes feff.inp and the commands that

tell FEFF what to do.  It may be helpful to look at one or more of the

sample input files in Appendix D while reading this section.  An auxilliary

program ATOMS can generate the feff.inp file.  See the ATOMS card and the

document for ATOMS for additional details.  The input file for FEFF6L is

identical to FEFF5 and FEFF6 except that XANES is disabled in FEFF6L.

4.1  File format

feff.inp is a free format line oriented file. Blank lines and lines

beginning with an asterisk (comment lines) are ignored wherever the

occur.  End of line comments are also ignored.  Each type of input read

by the program must contain a card with a "keyword" in CAPITAL LETTERS,

and in some cases, followed by data cards.  The sequence of keyword

cards is arbitrary. If any card is omitted, default values are used; an

exception is the POTENTIALS card, which is required. Numeric values are

listed in free format, separated by blanks. Tab characters are not

allowed (due to portability constraints) and may cause confusing error

messages.  Characters appearing after the expected data on a given line

are ignored by feff and can be used as end-of-line comments.  All

distances are in Angstroms and energies in eV.

4.2  Complete list of feff.inp keywords

The list of feff.inp options fall into four categories, standard

options frequently and easily used, useful options that are often used,

special options that are seldom necessary or helpful, and obscure

options used during development that are included for completeness.

The standard data types are

ATOMS, CONTROL, DEBYE, HOLE, POTENTIALS, PRINT, SIG2, TITLE

Useful options include

CORRECTIONS, CRITERIA, ELLIPTICITY, END, NEMAX, NLEG, NOGEOM,

PCRITERIA, POLARIZATION, RMAX, RMULTIPLIER, SS

Special data types are recommended only for advanced users, awkward

situations or diagnostic purposes

AFOLP, FOLP, EXCHANGE, ION, OVERLAP, RPHASES

And some are so obscure that we considered not mentioning them

CUSTOMCRITERIA, IORDER, NOHOLE, RGRID

These data types are listed below, alphabetically within each category.

Each DATATYPE is followed by a brief explanation and an  example.

4.2.1  Basic data types

ATOMS, CONTROL, DEBYE, HOLE, POTENTIALS, PRINT, SIG2, TITLE

4.2.1.1  ATOMS

Cartesian coordinates and unique potential indices of each atom (in

Angstroms) in the cluster are entered following the ATOMS card, one per

line. Please see the discussion of unique potentials in section 4.2.1.5.

An auxilliary code ATOMS written by B. Ravel (see the URL:

http://leonardo.phys.washington.edu/~ravel/software/atoms/ )

can generate the ATOMS list from given crystallographic

data. See the document file to ATOMS for more information.

ATOMS

* x      y      z     ipot     SF6 molecule

0.0    0.0    0.0     0      S K-shell hole

3.61   0.00   0.00    1      F 1st shell atoms

0.00   3.61   0.00    1

0.00   0.00   3.61    1

-3.61   0.00   0.00    1

0.00  -3.61   0.00    1

0.00   0.00  -3.61    1

4.2.1.2  CONTROL  potph  paths  genfmt  ff2chi

The CONTROL card lets you run one or more of the modules separately.

There is a switch for each module, 0 meaning do not run that module, 1

meaning do run it. The default is CONTROL 1 1 1 1, run all modules.

* run genfmt and ff2chi, do not run potph or paths

CONTROL  0 0 1 1    potph  paths  genfmt  ff2chi

4.2.1.3  DEBYE  temperature  Debye-temperature

The Debye card is used to calculate Debye-Waller factors for each path

using the correlated Debye Model. The model is best suited for

homogeneous systems, where it is quite accurate.  CAUTION: in

heterogeneous systems the model only gives approximate values which can

easily be off by factors of two or more. Temperatures are in K.

If this card is present, the correlated Debye model Debye-Waller factors

will be summed with the DW factors from the SIG2 card and from files.dat,

if any.

DEBYE  190 315   Calculate Debye-Waller factors for Cu at 190K

4.2.1.4  HOLE  ihole  S0**2

The HOLE card includes the hole-code ihole and the amplitude reduction

factor S0**2.  An entry of 0.0 for S0**2 gives the default value s02=1.

To match experiment, values of s02 are typically between 0.8 and 1.0.

Defaults if HOLE card is omitted: ihole=1 (K shell), S02=1. Hole-codes

presently available are as follows (if your favorite is missing,

complain to the authors):

code    core hole

0      no hole

1      K-shell

2      LI-shell

3      LII-shell

4      LIII-shell

HOLE  1   1.0     K-shell core hole, S02 = 1

4.2.1.5  POTENTIALS

The data following the POTENTIALS card assigns a unique potential index

to each distinguishable atom. The potential index ipot is the index of

the potential to be used for the phase shift calculation.

The keyword POTENTIALS begins a unique potential list.  Each following

line (until the next keyword card) is a unique potential index, the

atomic number and optional tag (max 6 characters) for that unique

potential. The absorbing atom must be unique potential 0.  These unique

potential indices are simply labels, so the order is not important,

except that the absorbing atom is ipot 0, and you may not have missing

indices (ie, if you use ipot 3, you must also have defined unique

potentials 1 and 2).

To save time the code calculates the overlapped atom potential for each

unique potential only once, using as a sample geometry the first atom

in the atom list with a given unique potential index. Thus it is essential

that the neighborhood of that sample atom be representative.  Failure

to do so may cause the code to perform poorly (See Appendix G).

Because the phase shift calculation is the most time-consuming part of

FEFF, it may be useful to assume that the potential for a given shell

of atoms is the same as that of a previously calculated shell. For

example, in Cu it is a good approximation to determine potentials only

for the central atom and the  first shell and to use the first shell

potential (ipot=1) for all higher shells.  Such approximations should

be checked in each case.

* molecular SF6

POTENTIALS

*   potential-index    Z   tag

0           16   S         Sulfur K hole, absorbing atom

1            9   F

4.2.1.6  PRINT  potph  paths  genfmt  ff2chi

The PRINT card determines how much output is printed from each of the

four modules.  Default is print level 0 for each module.   See section

6 for details of contents of these files.

potph	0 phase.bin xsect.bin only

1 add misc.dat

2 add pot.dat, phase.dat

5 add atom.dat

paths	0 paths.dat only

1 add crit.dat

2 add geom.dat

3 add f(beta) files (plane wave |f(beta)| approximations)

5 Write only crit.dat and save geom.dat.  This is very useful

when exploring importance of paths for large runs.  Does not

write paths.dat.

genfmt	0 files.dat, all feffNNNN.dat files with importance greater than

or equal to two thirds of the curved wave importance criterion

1 keep all feffNNNN.dat files

ff2chi	0 chi.dat

1 add sig2.dat with Debye-Waller factors

2 add chiNNNN.dat (chi from each path individually)  This can

quickly fill up your disk if you're doing a large run.

* add crit.dat and small feffNNNN.dat files to minimum output

PRINT  0  1  1  0

4.2.1.7  SIG2  sig2

Global Debye-Waller factor to be used for all paths.  This value will be

summed with the correlated Debye model value (if the DEBYE card is present)

and any value added to files.dat.

4.2.1.8  TITLE   title line...

Keyword TITLE followed by a title line.  You may have up to 10 of

these.  Titles may have up to 75 characters, leading blanks in the

titles will be removed.

TITLE  Andradite  (Novak and Gibbs, Am.Mineral 56,791 1971)

TITLE  K-shell 300K

4.2.2  Useful options

CORRECTIONS, CRITERIA, ELLIPTICITY, END, NEMAX, NLEG,

PCRITERIA, POLARIZATION, RMAX, RMULTIPLIER, SS

4.2.2.1  CORRECTIONS  real-energy-shift  imaginary-energy-shift

The real energy shift will shift E0 in the final chi and the imaginary

energy shift adds broadening to the result. The energy shift is useful

to correct for the error in FEFF's fermi level, which is typically

too high by about 3 eV, and the the broadening is typically used to

correct for instrument broadening, or as a correction to the mean free

path calculated by FEFF. This affects only the module FF2CHI, which

combines the results in all of the feff.dat files. It is useful because

you can simply make these energy corrections and see the results without

redoing the entire XAFS parameter calculation.  Both energies are in eV.

[See also the EXCHANGE card.]

* Reduce E0 by 3.0 eV and add 1 eV of broadening

* This will only affect module 4, ff2chi

CORRECTIONS   3.0   1.0       real shift, imag shift

4.2.2.2  CRITERIA   critcw   critpw

Since the number of multiple scattering paths gets large very quickly,

it is necessary to eliminate as many paths as possible.  Fortunately,

we have found that most multiple scattering paths have small amplitudes

and can be neglected.  Various cutoff "criteria" are used in FEFF6 to

limit the number of paths to consider.  These criteria are based on the

importance of the path, defined as the integral over the full energy

range of |chi(k)|*dk.

critcw is the result of the full curved wave calculation.  A

calculation of critcw requires a complete spherical wave calculation,

which takes about 10 seconds on a SUN4.  The default value of critcw is

4%, meaning that any  path with mean amplitude exceeding 4% of largest

path will be used in calculation of chi. The criterion critcw is used

by GENFMT; since the XAFS parameter calculation is already done, the

savings is not in computer time, but in disk space and ease of

analysis.  The values of critcw for each path are written in the file

files.dat written by module GENFMT.

critpw is a plane-wave approximation to chi.  This is extremely fast to

calculate, and is used in the pathfinder.  The default value of critpw

is 2.5, meaning that any path with mean amplitude 2.5% of largest path,

including degeneracy factors,  (in plane wave approximation) will be

kept. Any path that does not meet this criterion will not be written to

paths.dat, and there is no need to calculate the XAFS parameters for

this path.  The default for critpw is less than that for critcw since

some paths are more important when the full curved wave calculation is

done than they appear in the plane wave approximation.  Since the plane

wave estimate is extremely fast, use this to filter out as many paths

as you can.  The file crit.dat (written by the module PATHS) tells you

critpw for each path that passes the criterion.

The method of calculation of these importance factors has been improved

for the current release, so don't worry if the values for some paths

has changed slightly from previous versions.

[Default values critcw=4.% critpw=2.5%]

CRITERIA  6.0  3.0   critcw 6%, critpw 3%

CRITERIA  0  0       use all paths (cw and pw criteria turned off)

4.2.2.3  ELLIPTICITY   ellipticity   x   y   z

Ellipticity is the ratio of amplitudes of electric field in two orthogonal

directions for elliptically polarized light.  Only the absolute value of

the ratio is important for nonmagnetic materials. The present code cannot

distinguish left and right circular polarization. A zero value of the

ellipticity corresponds to linear polarization, and unity to circular

polarization.  Default value is zero.

x, y, z are coordinates of any nonzero vector in the direction of incident

beam. This vector should be approximately normal to the polarization vector.

ELLIPTICITY  1.0  0.0 0.0 -2.0   for circular polarization

about z-axis

4.2.2.4  END

The END card marks the end of reading the feff.inp file; all data

following the END card is ignored. This is optional, but useful when

making short runs with only part of an input file.

END    ignore any cards in feff.inp that follow this

4.2.2.5  NEMAX  nemax

This limits the number of energy points. NEMAX is normally 49, which

will get you to k=20 invA.  Smaller values will avoid the high energy

parts of the calculation and may save you some time.  This parameter is

used when the scattering phase shifts are calculated, so once you have

limited the number of energy points, that's what you will get for the

rest of the calculations you do (based on the phase shifts).  To change

the number of energy points, re-run the phase shift calculation.

* use only first 40 energy grid points

NEMAX  40

4.2.2.6  NLEG  nleg

The NLEG card limits the number of scattering paths to nleg. If nleg is

set to 2, only single scattering paths are found. The default is

nleg = 8.

NLEG 2      find only single scattering paths (ie, 2 legged paths)

4.2.2.7  NOGEOM

When this card is present, the file geom.dat will not be produced.  Use

this option when you want to take advantage of the symmetry in a cluster

to speed the path calculation by using the geom.dat file produced by the

auxilliary code ATOM rather than letting feff produce geom.dat from the

atom list in feff.inp.

4.2.2.8  PCRITERIA   keep-criterion   heap-criterion

These criteria, like those described in the CRITERIA card, also limit

the number of paths. However, they are applied in the pathfinder and

eliminate unimportant paths while the pathfinder is doing its search.

The pathfinder criteria (pcrit's) do not know the degeneracy of a path

and are therefore much less reliable than the curved wave and plane

wave criteria in the CRITERIA card above. These path finder criteria

(keep and heap) are turned off by default, and we recommend that they

be used only with very large runs, and then with caution.

The keep-criterion looks at the amplitude of chi (in the plane wave

approx) for the current path and compares it to a single scattering

path of the same effective length.  To set this value, consider the

maximum degeneracy you expect and divide your plane wave criterion by

this number.  For example, in fcc Cu, typical degeneracies are 196 for

paths with large r, and the minimum degeneracy is 6.  So a keep

criterion of 0.08% is appropriate for a pw criteria of 2.5%.

The heap-criterion filters paths as the pathfinder puts all paths into

a heap (a partially ordered data structure), then removes them in order

of increasing total path length.  Each path that is removed from the

heap is modified and then considered again as part of the search

algorithm. The heap filter is used to decide if a path has enough

amplitude in it to be worth further consideration.  If we can eliminate

a path at this point, entire trees of derivative paths can be

neglected, leading to enormous time savings.  This test does not come

into play until paths with at least 4 legs are being considered, so

single scattering and triangular (2 and 3 legged) paths will always

pass this test.  Because only a small part of a path is used for this

criterion, it is difficult to predict what appropriate values will be.

To use this (it is only necessary if your heap is filling up, and if

limiting rmax doesn't help), study the results in crit.dat from runs

with shorter rmax and experiment with the heap criterion accordingly.

In the future, we hope to improve this filter.

Before using these criterion, study the output in the file crit.dat

(use print option 1 for paths, see PRINT card), which has the values of

critpw, keep factor and heap factor for all paths which pass the critpw

filter.

Default:  If this card is omitted, the keep and heap criteria are set

to zero, that is, no filtering will be done at this step in the calculation.

* fcc Cu had degeneracies from 6 to 196, so correct for this by

* dividing pw-crit of 2.5% by 30 to get 0.08 for keep crit.  Check this

* empirically by running with pcrits turned off and studying crit.dat.

* After studying crit.dat, choose 0.5 for heap crit.

PCRITERIA   0.08  0.5

4.2.2.9   POLARIZATION   x  y  z

This card specifies the direction of electric field in the incident beam.

(Main axis of the ellipse in the case of elliptical polarization).

x, y, z - coordinates of any nonzero vector. Only this card is necessary

in the case of linear polarization. If the POLARIZATION card is omitted,

polarization averaged xafs will be calculated.

Note that polarization reduces the degeneracy of the paths, increasing

the calculation time. Choosing polarization in the directions of symmetry

axes will yield faster results.

POLARIZATION  1.0  2.5  0.0

4.2.2.10   RMAX  rmax

The RMAX card determines the maximum effective distance, rmax, of a

given path.  Note that rmax is one-half of the total path length in

multiple-scattering paths.  Setting this too large can cause the heap

in the pathfinder to fill up.  Default is RMAX = twice the near neighbor

distance.

RMAX  5.10   only include paths with effective length up to 5.10 Ang

4.2.2.11  RMULTIPLIER  rmult

The use of the RMULTIPLIER card multiples all atomic coordinates by a

constant factor, rmult. This is useful, for example, if unit cell

coordinates are used. (Default value rmult=1.)

RMULTIPLIER 1.01   (increase distances by 1%)

4.2.2.12 SS  index  ipot   deg  rss

The SS card is used when the structure of a given shell is unknown. No

multiple scattering is produced but a single scattering path of

degeneracy deg is produced. Overlap cards may be used to construct the

potential for such a path. The parameters are a shell index, which is a

label used for feffNNNN.dat file name, a unique potential index ipot,

identifying the unique potential of atom from which to scatter, the

degeneracy, i.e., the multiplicity  of this single scattering path, and

the distance to central atom, rss. This could be used to add single

scattering beyond the limits of a cluster.

*  index  ipot   deg  rss

SS   29     1     48  5.98       parameters for 19th shell of Cu

4.2.3  Sometimes useful options for expert users

AFOLP, FOLP, EXCHANGE, ION, OVERLAP, RPHASES

4.2.3.1  AFOLP

This automatically overlaps all muffin-tins to reduce the effects of

potential discontinuities at the muffin-tins.  It is useful in highly

inhomogeneous materials.  It works fairly well, but may fail in some

cases. See FOLP for non-automatic version.

AFOLP     use automatic maximum overlapping

4.2.3.2  FOLP  ipot  folp

The FOLP card  sets a parameter which determines  by what factor

muffin-tin radii are overlapped.  We recommend that the AFOLP card

be used In cases with severe anisotropy, and FOLP only used for

diagnostic purposes.

FOLP 1  1.1  (10% overlap of muffin tin of unique potential 1)

4.2.3.3  EXCHANGE  ixc  vr0 vi0

The EXCHANGE card specifies the energy dependent exchange correlation

potential to be used.  (See also the CORRECTIONS card which is similar

but allows the user to refine values of vr0 and vi0 after a calculation

is completed.)  The EXCHANGE card contains the index of the xc pot (ixc)

and the constant imaginary part of the self-energy (vi0). The

Hedin-Lundqvist self-energy (default) appears to be the best choice for

all applications we have tested in detail. Optionally one may use the

Dirac-Hara exchange correlation potential and an appropriate imaginary

potential vi0. This may be useful to correct FEFF's typical error of

2 eV (high) in the location of the Fermi level and to add instrumental

broadening.  Defaults if EXCHANGE card is ommitted: ixc=0

(Hedin-Lundquist), vr0=0.0 vi0=0.0

ixc values:   ixc=0  Hedin-Lundqvist + const imag part

ixc=1  Dirac-Hara + const imag part

ixc=2  ground state + const imag part

ixc=3  Dirac-Hara + HL imag part + const imag part

vi values:    vi0 is (the negative of the) imaginary const shift

*Hedin-Lundqvist -2eV edge shift and 1eV expt broadening

EXCHANGE 0 2. 1.

*Dirac-Hara exchange -3 eV edge shift and 5 eV inner potential

EXCHANGE 1 3. 5.

4.2.3.4  ION  ipot  ionization

The ION card ionizes all atoms with atom type ipot.  Negative values

and non-integers are not permitted (however, we may allow these in

future versions of FEFF). The ION card is used to ionize all

atoms of a particular potential index. For example, for diatomics like

Br2, the fully relaxed configuration has ionization=1 on the scattering

atom. The ionization card should be used with caution; because of

charge transfer, the actual degree of ionization is not directly

related to the chemical valency. The default (non-ionized) scattering

potentials are often superior to those empirically ionized, and the

results should be checked both ways. Defaults if ION cards are

ommitted: atoms are not ionized.

ION  1  1   ipot, ionization

4.2.3.5  OVERLAP  iph

The OVERLAP card contains information needed to construct the

overlapped atom potentials when atomic coordinates are not known or

specified. If the atomic positions are listed following the ATOMS

cards, the OVERLAP cards are probably not needed. The OVERLAP card

contains the potential index of the atom being overlapped and must be

followed by cards specifying the potential index, number of atoms of a

given type to be overlapped and and their distance to the atom being

overlapped.  This option can be useful in crystals, especially for

distant shells -- see sample input files for an example. It can also be

useful for calculating single scattering XAFS in very complex materials

where very little is known about the structure.

You should verify that the coordination chemistry built in using the

OVERLAP cards is realistic; it is important to specify all the close

neighbors of a typical atom in the shell to be overlapped. The most

important factor in determining the scattering amplitudes is the atomic

number of the scatterer, but the coordination chemistry must be

approximately correct to ensure good scattering potentials. Thus it is

important to specify as accurately as possible the coordination

environment of the scatterer.

OVERLAP 4         determine overlap for 3rd shell of Cu

0  1 2.55266    ipot, number in shell, distance

1  4 2.55266

2  7 2.55266

2  6 3.61000

2 24 4.42133

4.2.3.6  RPHASES

If this card is present, only real phase shifts (instead of the complex

phase shifts) will be used.  The results of the calculation will not be

accurate.  This option is intended to allow users to obtain real scattering

phase shifts for use with other programs, or for diagnostic purposes.

The phase shifts can be written to output files phaseXX.dat using the

PRINT card.  If the RPHASES card is present, these will be the real phase

shifts.

4.2.4  Obscure options

CUSTOMCRITERIA, IORDER, NOHOLE, RGRID

4.2.4.1  CUSTOMCRITERIA  crit  kmin  kmax

This calls subroutine custom from subroutine ff2chi and can be used to

filter paths based on custom criteria.  Note that this requires that the

spectrum for each path already be calculated by module GENFMT.  Crit is

the percent of the value of the first path's importance to use as a filter,

kmin and kmax limit the spectrum over which the paths importance is to be

considered.  Modify subroutine custom if you need more flexibility here.

4.2.4.2  IORDER  iord

Order of the approximation to use in module GENFMT.  We use order 2,

which is correct to terms of order (1/pR)**2, and corresponds to 6x6

matrices. However, we do single scattering exactly.  This approximation

is accurate to within a few percent in every case we have tried (that

is, higher order doesn't change the result more than a few percent).

Changing the default values requires some familiarity with the

Rehr-Albers paper and the structure of  the module GENFMT.  To do so,

follow the instructions in subroutine SETLAM.  Iord is passed to setlam

for processing.  You may need to change the code parameter lamtot if

you want to do higher order calculations.  This is another of the

arcane cards that we have used for testing.  For details of the

algorithm used by GENFMT, see the paper by J.J.Rehr and R.C.Albers (see

Appendix C, references).

4.2.4.3  NOHOLE

What does it mean to do x-ray absorption if no x-ray was absorbed?  Not

much, but the code will do it if you want.  We used this to test the

final state rule for calculated XAFS, and to compare to some other

calculations that did not use a core hole.  The code will use the

final state from the hole card for matrix element calculation -- the

NOHOLE card says to calculate potentials, etc., as if there was no

core hole.

4.2.4.4  RGRID  rgrid

The radial grid used for the potential and phase shift calculation is

r(i) = exp (-8.8 + (i-1) * dpas), with dpas = 0.05.  This is sufficient

for almost everything.  There are occasionally convergence problems in

the background at very high energy (the background curves upward) and

in calculating phase shifts at high energy for very large atoms.  Setting

the rgrid to 0.01 will solve these problems at the cost of MUCH longer

computation times.  We have used this for testing convergence -- the

code converges for any physically reasonable situation with the normal

rgrid of 0.05.

5.  Run Control Options

In addition to the CONTROL card and the FEFF options in feff.inp, some

parameters in the files read by the various modules can be changed.

For example, you can create your own paths by editing paths.dat and

change explicit Debye-Waller factors in the final result by editing

files.dat.

Users may edit the some files as a quick and sometimes convenient way

to prepare a given run.  It is easiest to use an existing file as a

template -- these files are read by a computer program that is fussy

about what it receives.

The files that can be used in this way are paths.dat and files.dat.

5.1  Paths.dat

You can modify a path, or even invent new ones.  For example, you could

make a path to determine the effect of a focusing atom on a distant

scatterer. Whatever index you enter for the path will be used in the

filename given to the feffnnnn.dat file; i.e., for the choice, index =

845,  the exafs parameters will appear in feff845.dat.

A handy way to add a single scattering path of length R is to make a

2-leg path with the central atom at (0, 0, 0) and the scatterer at

(R, 0, 0).

GENFMT will need the positions, unique potentials, and character tags

for each atom in the path.  The angles and leg lengths are printed out

for your information, and you can omit them when creating your own

paths by hand.  The label lines in the file are required (there is code

that skips them, and if they're missing, you'll get wrong results).

5.2  Files.dat

This is the list of files that ff2chi uses to calculate chi.  It

includes the filenames of the feffNNNN.dat files written by module

GENFMT, curved wave importance factors, and user-defined Debye-Waller

factors.  If you want to set Debye-Waller factors for individual paths,

you may edit this file to set them.  FF2CHI will use the Debye-Waller

factors in this file unless you have asked to use the correlated Debye

model.  You may also delete file names from this file if you want to

combine some particular set of paths.  (Save the original, or you'll

have to re-run GENFMT!)

You may re-name the feffNNNN.dat files as long as you remember to

change the filenames in files.dat when you want to calculate the XAFS

using FF2CHI.

6.  Output files

6.1  phase.bin

This is a binary file with the scattering phase shifts for each unique

potential.  It is used by GENFMT and the pathfinder.

6.2  paths.dat

Written by the pathfinder, this is a description of all the paths that

fit the criteria used by the pathfinder.  It is used by GENFMT. The

path descriptions include cartesian coordinates of atoms in the path,

scattering angles, leg lengths and degeneracy. For details on editing

this by hand, see section 4.

6.3  crit.dat

Values of the quantities tested against the various criteria in the

pathfinder.

6.4  geom.dat

Written by feff for use with the pathfinder, and deleted after use.  It

is an atom list created from the user-input list in feff.inp.  For more

information, see the NOGEOM card in section 4.

6.5  files.dat

List of files to use to create chi.dat.  Written by GENFMT when the

xafs parameters are calculated and used by FF2CHI.  This contains the

curved wave importance ratios, which you may wish to study. For details

on editing this by hand, see section 5.

The curved wave importance ratios are the importance of a particular

path relative to the most important path encountered so far in the

calculation.  If the first path is the most important in the problem,

all the importance factors will be expressed as a fraction of that path.

However, if the third path considered is the most important, and the first

path is the next most important, path 1 will have a factor of 100%, path 2

will be a fraction of the first path's importance, path 3 will have an

importance of 100% (since it is now the most important path), and subsequent

paths will be expressed as a percent of path 3's importance.

6.6  chi.dat

Standard xafs data k, chi(k), |chi(k)| relative to threshold (k=0): The

header also contains enough information to specify what model was used

to create this file.

6.7  feffNNNN.dat

Effective scattering amplitude and phase shift data, with   k

referenced to threshold for shell nn: k,  phi_c, |feff|, ph(feff),

redfac, lambda,  Re(p)

6.8  Diagnostic files from POTPH

misc.dat	Header file for quick reference.

phaseNN.dat	Complex phase shifts for each shell.

potNN.dat	Detailed atomic potentials and densities.

atomNN.dat	Diagnostic information on Desclaux free atom NN.

6.9  Variables in output files and in calculation of XAFS

k        = wave number (ang**-1); k=sqrt(e-e_f) where

e is energy and e_fermi is the fermi level

computed from electron gas theory at the

avg interstitial charge density

chi(k)   = so**2 * redfac sum_shells [ natsh

* (|feff|/kR**2) * exp(-2R/lambda)

* sin(2kR + ph(feff) + phi_c))

* exp(-2k**2*sigma**2) ]

phi_c    = 2*delta_l_c -l*pi (total central atom phase)

feff     = effective, curved-wave backscattering amplitude

feff(k) in xafs formula for each shell

ph(feff) = phase of feff(k) for each shell

redfac   = exp(-2 imag (delta_c) )

total central atom loss factor

R        = distance to central atom for each shell

natsh    = mean number atoms in each shell

sigma**2 = mean square variation of R for each shell

lambda   = mean free path (angstroms) =-1./imag (p)

kf       = fermi momentum at avg interstitial charge density

p=p(r)   = local momentum (p(r)**2=k**2+kf(r)**2+sigma-sigma_f)

sigma    = self energy at energy e, sigma_f at energy e_f

mu       = total absorption cross-section

mu_0     = atomic background absorption

Appendix A.  Copyright Information,  Restrictions and License

A.1  Restrictions and License Information

This software was prepared in part with US Government Funding under

DOE contract DE-FG03-97ER45623.

Redistribution and use of this Distribution in source and binary

formats, with or without modification is permitted, provided the

following conditions are met:

Redistributions must retain the above notices and the following list

of conditions and disclaimer;

Modified versions carry the marking

"Based on or developed using Distribution: FEFF6L

Copyright (c) [2002] University of Washington"

Recipient acknowledges the right of the University of Washington to

prepare uses of this Distribution and its modifications that may be

substantially similar or functionally equivalent to

Recipient-prepared modifications.

Recipient and anyone obtaining access to the Distribution through

recipient's actions accept all risk associated with possession and

use of the Distribution.

THIS SOFTWARE IS PROVIDED ``AS IS'' AND ANY EXPRESS OR IMPLIED

WARRANTIES, INCLUDING, BUT NOT LIMITED TO, THE IMPLIED WARRANTIES OF

MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE DISCLAIMED.

IN NO EVENT SHALL THE UNIVERSITY OF WASHINGTON OR CONTRIBUTORS TO THE

DISTRIBUTION BE LIABLE FOR ANY DIRECT, INDIRECT, INCIDENTAL, SPECIAL,

EXEMPLARY, OR CONSEQUENTIAL DAMAGES (INCLUDING, BUT NOT LIMITED TO,

PROCUREMENT OF SUBSTITUTE GOODS OR SERVICES; LOSS OF USE, DATA, OR

REVENUE; OR BUSINESS INTERRUPTION) HOWEVER CAUSED AND ON ANY THEORY OF

LIABILITY, WHETHER IN CONTRACT, STRICT LIABILITY, OR TORT (INCLUDING

NEGLIGENCE OR OTHERWISE) ARISING IN ANY WAY OUT OF THE USE OF THIS

SOFTWARE, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGE.

A.2  ADDENDUM: Government Copyrights (DO NOT DELETE)

This work was supported in part by DOE Grant DE-FG06-90ER45416. In

accordance with the DOE FAR rules part 600.33 "Rights in Technical Data

- Modified Short Form" the following clause applies to FEFF:

(c)(1)The grantee agrees to and does hereby grant to the U.S.

Government and to others acting on its behalf:

(i) A royalty-free, nonexclusive, irrevocable, world-wide license for

Governmental purposes to reproduce, distribute, display, and perform

all copyrightable material first produced or composed in the

performance of this grant by the grantee, its employees or any

individual or concern specifically employed or assigned to originate

and prepare such material and to prepare derivative works based

thereon,

(ii) A license as aforesaid under any and all copyrighted or

copyrightable work not first produced or composed by the grantee in the

performance of this grant but which is incorporated in the material

furnished under the grant, provided that such license shall be only to

the extent the grantee now has, or prior to completion or close-out of

the grant, may acquire the right to grant such license without becoming

liable to pay compensation to others solely because of such grant.

(c)(2) The grantee agrees that it will not knowingly include any

material copyrighted by others in any written or copyrightable material

furnished or delivered under this grant without a license as provided

for in paragraph (c)(1)(ii) of this section, or without the consent of

the copyright owner, unless it obtains specific written approval of the

Contracting Officer for the inclusion of such copyright material.

Appendix B.  Installation Instructions

The lite distribution FEFF6L is provided only as source, including a

Makefile. Please contact the authors in case of problems. For compilation

note the following:

Floating point calculations must be done to precision 64 bits. Thus the

code uses double precision variables throughout, i.e., real*8 for real

numbers and complex*16 for complex numbers.  If your machine uses 8

bytes for single precision floating point numbers (for example, Crays

and some CDC machines), use the compiler option to ignore double

precision statements in the code. This option is available (in various

forms) on all Cray and CDC machines that we have seen.  On the CRAY YMP

at Ohio State, the compiler option to ignore double precision in the

source code is

cf77 -c -Wf"-dp"

Code is written in ANSI FORTRAN 77, except that COMPLEX*16 variables

are required.  Since data type COMPLEX*16 is not part of the ANSI

standard, minor compiler-dependent modification may be necessary.  We

have used the VAX extensions to ANSI FORTRAN 77 since they seem to be

the most portable.  The non-standard statements and intrinsic functions

used are: COMPLEX*16 variables and arrays; DIMAG(arg) returns a double

precision imaginary part of arg; DCMPLX(arg) returns a complex*16

version of arg; DBLE(arg) returns a double precision real part of arg;

SQRT, EXP, ABS and other generic math functions are assumed to accept

complex*16 arguments and return double precision or complex*16 results.

Files are opened with the OPEN statement.  As the ANSI definition gives

some leeway in how the OPEN statement interacts with the operating

system, we have chosen file names and conventions that work on UNIX,

VAX/VMS, IBM PCs (and clones) with MS FORTRAN, CRAY, MAC's and and CDC

machines.  It may be necessary to modify the open statements on other

systems.

Appendix C.  References

Please cite at least one of the following articles if

FEFF6L is used in published work.

1) Multiple scattering XAFS

J.J. Rehr, S.I. Zabinsky and R.C. Albers,

"High-order multiple scattering calculations of x-ray-absorption

fine structure", Phys. Rev. Lett. 69, 3397 (1992).

2) FEFF standards

J.J. Rehr, J. Mustre de Leon, S.I. Zabinsky, and R.C. Albers,

"Theoretical X-ray Absorption Fine Structure Standards",

J. Am. Chem. Soc. 113, 5135 (1991).

Appendix D.  Sample input files

D.1  SF6 Molecule

TITLE Molecular SF6

POTENTIALS

*    ipot    z   tag

0    16   S        absorbing atom must be unique pot 0

1     9   F

ATOMS

*  x      y      z     ipot

0      0      0       0          S absorber

1.56   0      0       1          6 F backscatters

0      1.56   0       1

0      0      1.56    1

-1.56   0      0       1

0     -1.56   0       1

0      0     -1.56    1

D.2  SF6 Molecule

TITLE Molecular SF6

POTENTIALS

*    ipot    z   tag

0    16   S        absorbing atom must be unique pot 0

1     9   F

RMULTIPLIER 1.56

ATOMS

*  x      y      z     ipot

0      0      0       0          S absorber

1      0      0       1          6 F backscatters

0      1      0       1

0      0      1       1

-1      0      0       1

0     -1      0       1

0      0     -1       1

D.3  Cu fcc metal, 4 shells

TITLE Cu crystal, 4 shells

DEBYE  190  315    Cu at 190K, Debye temp 315K (Ashcroft & Mermin)

* Cu is fcc, lattice parameter a=3.61 (Kittel)

POTENTIALS

0  29  Cu0

1  29  Cu

ATOMS

.0000     .0000     .0000  0    shell    0     .0000

-1.8050   -1.8050     .0000  1    shell    1    2.5527

-1.8050    1.8050     .0000  1

1.8050   -1.8050     .0000  1

1.8050    1.8050     .0000  1

-1.8050     .0000   -1.8050  1

-1.8050     .0000    1.8050  1

1.8050     .0000   -1.8050  1

1.8050     .0000    1.8050  1

.0000   -1.8050   -1.8050  1

.0000   -1.8050    1.8050  1

.0000    1.8050   -1.8050  1

.0000    1.8050    1.8050  1

-3.6100     .0000     .0000  1    shell    2    3.6100

3.6100     .0000     .0000  1

.0000   -3.6100     .0000  1

.0000    3.6100     .0000  1

.0000     .0000   -3.6100  1

.0000     .0000    3.6100  1

-3.6100   -1.8050   -1.8050  1    shell    3    4.4213

-3.6100   -1.8050    1.8050  1

-3.6100    1.8050   -1.8050  1

-3.6100    1.8050    1.8050  1

3.6100   -1.8050   -1.8050  1

3.6100   -1.8050    1.8050  1

3.6100    1.8050   -1.8050  1

3.6100    1.8050    1.8050  1

-1.8050   -3.6100   -1.8050  1

-1.8050   -3.6100    1.8050  1

-1.8050    3.6100   -1.8050  1

-1.8050    3.6100    1.8050  1

1.8050   -3.6100   -1.8050  1

1.8050   -3.6100    1.8050  1

1.8050    3.6100   -1.8050  1

1.8050    3.6100    1.8050  1

-1.8050   -1.8050   -3.6100  1

-1.8050   -1.8050    3.6100  1

-1.8050    1.8050   -3.6100  1

-1.8050    1.8050    3.6100  1

1.8050   -1.8050   -3.6100  1

1.8050   -1.8050    3.6100  1

1.8050    1.8050   -3.6100  1

1.8050    1.8050    3.6100  1

-3.6100   -3.6100     .0000  1    shell    4    5.1053

-3.6100    3.6100     .0000  1

3.6100   -3.6100     .0000  1

3.6100    3.6100     .0000  1

-3.6100     .0000   -3.6100  1

-3.6100     .0000    3.6100  1

3.6100     .0000   -3.6100  1

3.6100     .0000    3.6100  1

.0000   -3.6100   -3.6100  1

.0000   -3.6100    3.6100  1

.0000    3.6100   -3.6100  1

.0000    3.6100    3.6100  1

D.4  YBCO High-Tc superconductor

TITLE  YBCO: Y BA2 CU3 O7      Cu2, core hole

RMAX   4.5

POTENTIALS

*    ipot  z  tag

0   29  Cu2

1    8  O

2   39  Y

3   29  Cu1

4   56  Ba

ATOMS

0.0000    0.0000    0.0000    0        CU2  0.0000

1.9115    0.0000    0.2453    1        O    1.9272

-1.9115    0.0000    0.2453    1        O    1.9272

0.0000    1.9430    0.2687    1        O    1.9615

0.0000   -1.9430    0.2687    1        O    1.9615

0.0000    0.0000   -2.3128    1        O    2.3128

1.9115   -1.9430    1.6821    2        Y    3.2029

-1.9115    1.9430    1.6821    2        Y    3.2029

-1.9115   -1.9430    1.6821    2        Y    3.2029

1.9115    1.9430    1.6821    2        Y    3.2029

0.0000    0.0000    3.3641    3        CU1  3.3641

1.9115   -1.9430   -2.0091    4        BA   3.3861

-1.9115    1.9430   -2.0091    4        BA   3.3861

-1.9115   -1.9430   -2.0091    4        BA   3.3861

1.9115    1.9430   -2.0091    4        BA   3.3861

0.0000    1.9430    3.0955    1        O    3.6547

0.0000   -1.9430    3.0955    1        O    3.6547

-1.9115    0.0000    3.1188    1        O    3.6580

1.9115    0.0000    3.1188    1        O    3.6580

3.8230    0.0000    0.0000    3        CU1  3.8230

-3.8230    0.0000    0.0000    3        CU1  3.8230

0.0000    3.8860    0.0000    3        CU1  3.8860

0.0000   -3.8860    0.0000    3        CU1  3.8860

0.0000    0.0000   -4.1584    3        CU1  4.1584

-3.8230   -1.9430    0.2687    1        O    4.2968

3.8230    1.9430    0.2687    1        O    4.2968

3.8230   -1.9430    0.2687    1        O    4.2968

-3.8230    1.9430    0.2687    1        O    4.2968

1.9115    3.8860    0.2453    1        O    4.3376

1.9115   -3.8860    0.2453    1        O    4.3376

-1.9115    3.8860    0.2453    1        O    4.3376

-1.9115   -3.8860    0.2453    1        O    4.3376

Appendix E.  Code Variables, Dimensions and Descriptions

The end of line comments were removed from the code because they are not

standard Fortran.  The array names are a bit cryptic due to the six character

limit in standard FORTRAN -- the comments included here explain what the names

mean.  If you need to run larger problems than the dimension statements in the

code allow, simply change the dimensions in all the relevant parameter

statements and recompile.  However, dimensions associated with the atom and

phase shift codes, e.g. the number of r-mesh points and the max number of

angular momentum levels should NOT be changed.

dim.h:

c     These names have been checked with all current feff code.

c     Changing the common names in the future may be a good idea.

c     June 12, 1992

parameter (nphx = 7)	!max number of unique potentials (potph)

parameter (npotx = nphx)	!max number of unique potentials (genfmt, paths)

parameter (nfrx = nphx)	!max number of free atom types

parameter (novrx = 8)	!max number of overlap shells

parameter (natx = 250)	!max number of atoms in problem

parameter (ltot = 24)	!max number of ang mom (arrays 1:ltot+1)

parameter (nrptx = 250)	!Loucks r grid used through overlap

parameter (nex = 100)	!Number of energy points genfmt, etc.

parameter (lamtot=15)	!Max number of distinct lambda's for genfmt

!15 handles iord 2 and exact ss

parameter (mtot=2, ntot=2) !vary mmax and nmax independently

parameter (legtot=7)	!max number of legs, used in genfmt,

!NOT in path finder

parameter (npatx = 8)	!max number of path atoms, used in path

!finder, NOT in genfmt

arrays.h:

c     Notes:

c        nat	number of atoms in problem

c        nph	number of unique potentials

c        nfr	number of unique free atoms

c        ihole	hole code of absorbing atom

c        iph=0 for central atom

c        ifr=0 for central atom

c     Specific atom input data

dimension iphat(natx)	!given specific atom, which unique pot?

dimension rat(3,natx)	!cartesian coords of specific atom

c     Unique potential input data

dimension iatph(0:nphx)	!given unique pot, which atom is model?

!(0 if none specified for this unique pot)

dimension ifrph(0:nphx)	!given unique pot, which free atom?

dimension xnatph(0:nphx)	!given unique pot, how many atoms are there

!of this type? (used for interstitial calc)

character*6 potlbl(0:nphx)	!label for user convenience

dimension folp(0:nphx)	!overlap factor for rmt calculation

dimension novr(0:nphx)	!number of overlap shells for unique pot

dimension iphovr(novrx,0:nphx)	!unique pot for this overlap shell

dimension nnovr(novrx,0:nphx)	!number of atoms in overlap shell

dimension rovr(novrx,0:nphx)	!r for overlap shell

c     Free atom data

dimension ion(0:nfrx)	!ionicity, input

dimension iz(0:nfrx)	!atomic number, input

c     ATOM output

c     Note that ATOM output is dimensioned 251, all other r grid

c     data is set to nrptx, currently 250

dimension rho(251,0:nfrx)		!density*4*pi

dimension vcoul(251,0:nfrx)	!coulomb potential

c     Overlap calculation results

dimension edens(nrptx,0:nphx)	!overlapped density*4*pi

dimension vclap(nrptx,0:nphx) 	!overlapped coul pot

dimension vtot (nrptx,0:nphx)	!overlapped total potential

c     Muffin tin calculation results

dimension imt(0:nphx)	!r mesh index just inside rmt

dimension inrm(0:nphx)	!r mesh index just inside rnorman

dimension rmt(0:nphx)	!muffin tin radius

dimension rnrm(0:nphx)	!norman radius

c     PHASE output

complex*16 eref(nex)		!interstitial energy ref

complex*16 ph(nex,ltot+1,0:nphx)	!phase shifts

dimension lmax(0:nphx)		!number of ang mom levels

lambda.h:

common /lambda/

4   mlam(lamtot), 	!mu for each lambda

5   nlam(lamtot),	!nu for each lambda

1   lamx, 		!max lambda in problem

2   laml0x, 	!max lambda for vectors involving absorbing atom

3   mmaxp1, nmax 	!max mu in problem + 1, max nu in problem

pdata.h:

c     Note that leg nleg is the leg ending at the central atom, so that

c     ipot(nleg) is central atom potential, rat(nleg) position of

c     central atom.

c     Central atom has ipot=0

c     For later convenience, rat(,0) and ipot(0) refer to the central

c     atom, and are the same as rat(,nleg), ipot(nleg).

c     text and title arrays include carriage control

character*80 text, title

character*6  potlbl

common /str/ text(40),	!text header from potph

1             title(5),	!title from paths.dat

1             potlbl(0:npotx)	! potential labels for output

complex*16 ph, eref

common /pdata/

1 ph(nex,ltot+1,0:npotx),	!complex phase shifts,

1					!central atom ipot=0

1 rat(3,0:legtot),		!position of each atom, code units (bohr)

1 eref(nex),		!complex energy reference

1 em(nex),		!energy mesh

1 ri(legtot), beta(legtot), eta(legtot),	!r, beta, eta for each leg

1 deg, rnrmav, xmu, edge,	!(output only)

1 lmax(nex,0:npotx),	!max l with non-zero phase for each energy

1 ipot(0:legtot),	!potential for each atom in path

1 iz(0:npotx),	!atomic number (output only)

1 ltext(40), ltitle(5),	!length of each string

1 nsc, nleg,	!nscatters, nlegs (nleg = nsc+1)

1 npot, ne,	!number of potentials, energy points

1 ik0,		!index of energy grid corresponding to k=0 (edge)

1 ipath, 	!index of current path (output only)

1 ihole,	!(output only)

1 l0, il0,	!lfinal and lfinal+1 (used for indices)

1 lmaxp1,	!largest lmax in problem + 1

1 ntext, ntitle	!number of text and title lines

Appendix F.   Changes from FEFF 5.04 and FEFF 6.01

We have made some minor changes to the input files

and code.  For complete descriptions of the

new cards and modifications of old ones, see section III.

With the exception of POLARIZATION capabilities,

and improved path finder and degeneracy checks, FEFF 6L is

nearly identical to FEFF5 and FEFF6.01.

Two cards are no longer recognized.  These are:

KLIMIT		(replaced by NEMAX)

REQUIRE

There are several changes and new options.  These are:

CORRECTIONS	Adds real and imaginary part to energy

CRITERIA	The importance criteria are now formulated differently

CSIG		Code now uses complex momentum in Debye-Waller factors

by default

NEMAX		Max number of energy grid points (replaces KLIMIT)

PCRITERIA	The path finder criteria are now formulated differently

PRINT		Several new options

POTENTIALS	Now has optional labels for unique potentials

Polarization dependent feff can be calculated with the help of the

following new cards:

POLARIZATION    Specifies polarization vector

ELLIPTICITY     Ellipticity and direction of the incident beam

for the elliptical polarization.

Appendix G. Trouble-shooting FEFF problems

FEFF 6 has been extensively tested but occasionally new bugs show up.

In an effort to maintain trouble-free codes we take all bug reports

seriously.  Often we receive reports by users of older versions of FEFF of

bugs that are fixed in the latest releases. Other code failures can often be

traced to input file errors, sometimes quite subtle. An example would be

non-physical widely spaced distributions of atoms. Symptoms of this common

problem are very large muffin-tin radii (see the header of any .dat file)

and possibly a failure of the phase-shift program to converge. Another

example is an error in assigining potential indices; the first atom with

a given potential index must have the geometry representative of this

potential type. This is sometimes fixed by using a somewhat larger

cluster; in fact it is usually desirable to have a larger cluster for

potential construction than that used in the XAFS calculation due to

errors in the potentials at surfaces.  Unless the atom distribution is

physically possible, you can expect the code to have problems. If, after

you have verified that your input file is not the problem, the problem

persists, please contact us at the e-mail addresses listed in Sec. 1. To

address your problem, we need the following information:

FEFF Bug and Error  Report

1. Brief description of problem.

2. Code and Version number (e.g., FEFF5 version 5.03)

3. Input file causing problem  feff.inp

4. If available, attach sample output (e.g. chi.dat) or log file.